## Sheet1
BDR Station Audit for
| Date | Equipment | Model | Install date | Last Maintenace | Condition | Additional Notes
Studio
Microphone
Mic processor
Mic Arm
Console
Profanity Delay
|  | Speakers |  |  |  |  | check fans, RAM levels, and software
Computer
Monitor
|  | UPS |  |  |  |  | Last battery change
Signal ground
Production Room
Microphone
Mic processor
Mic Arm
Console
Computer
Monitor
|  | UPS |  |  |  |  | Last battery change
Signal ground
Program Chain
Codecs
audio processors
EAS
STL
Signal ground
| Date | Equipment | Model | Install date | Last Maintenace | Condition | Additional Notes
.. or update
Misc Issues in MC
IP modem
Switches
|  | Telco /Cable |  |  |  |  | voice and data
Station LAN
|  | UPSs |  |  |  |  | do they have a bypass mode
Mod Mons, etc
Backup audio path
|  | Fire extinguishers |  |  |  |  | Type and Charge level
Transmitter site
|  | Key'd Locker |  |  |  |  | Passwords, etc.
STL
Remote Control
Transmitter
software ver
air filter
IP access
routing data
passwords
interlocks
|  | Aux transmitter |  |  |  |  | last tested?
software ver.
air filter
IP access
routing data
passwords
interlocks
| Date | Equipment | Model | Install date | Last Maintenace | Condition | Additional Notes
.. or update
Transmitter continued
|  | Fire Extinguisher |  |  |  |  | Type and condition
|  | Generator |  |  |  |  | When full load tested … transfer switch
|  | UPS … |  |  |  |  | note of time available
|  | Output levels |  |  |  |  | Total Mod, need calibration?
|  | Amplifier |  |  |  |  | Aural Monitors
Speakers
|  | Temperature |  |  |  |  | Harmonic and Output filters
RF
room
ATU (for AM)
Base fence (AM)
Vegetation control
|  | Tower condition |  |  |  |  | when the last inspection.
tower paint
|  | study on tower |  |  |  |  | Load max / level used in %
|  | Guy wire |  |  |  |  | Tension
|  | Guy Anchor |  |  |  |  | Anchor condition
|  | tower paint |  |  |  |  | (if required)
Radials (AM)
|  | Unused gear |  |  |  |  | old gear still plugged in or "hanging" on tower?
|  | Tower Lighting |  |  |  |  | (quarterly required)
Air Conditioners
Security System
Signal ground
|  | Power Audit |  |  |  |  | usage/time of day
|  | Power strips |  |  |  |  | no chain
General Site Info
power pole #
address
|  | Telco / Cable |  |  |  |  | name of authorized user
|  | Service contracts |  |  |  |  | A/C … water … etc.
|  | Money Audit |  |  |  |  | are invoices being paid on time?
|  | Maintenance Logs |  |  |  |  | and other records - like manuals!
|  | Periodic Cost Lists |  |  |  |  | If something needs replacemnt.